## Slide 1: Numericals based on Alkalinity
Dr. P. G. Umape
Assistant Professor
Pune Institute of Computer Technology

## Slide 2: Learning outcomes
Student should be able to calculate alkalinity of water sample

## Slide 3: Formula
Phenolphthalein alkalinity (P) =
Methyl orange alkalinity (M) =
=
V1 X Normality of acid X 50 X 1000
Volume of water sample
ppm CaCO3 equivalent
=
V2 X Normality of acid X 50 X 1000
Volume of water sample
ppm CaCO3 equivalent

## Slide 4: Calculation of Individual Alkalinity
Alkalinity | Quantity of OH- | Quantity of CO3-2 | Quantity of HCO3-
P =0 | 0 | 0 | M
P =1/2M | 0 | 2P | 0
P = M | P | 0 | 0
P < 1/2M | 0 | 2P | M-2P
P > 1/2M | (2P-M) | 2(M-P) | 0

## Slide 5: Numerical 1
P = phenolphthalein alkalinity
= V1 X Z X 50 X 1000/ V
= 5.2 X 0.02 X 50 X 1000/50
= 104 ppm CaCO3 equivalent
50 ml of a water sample requires 5.2 ml of N/50 HCl up to phenolphthalein end point and total 11.1 ml of the acid for complete neutralization. Find the types and amount of alkalinity in the water sample.
Solution: V1 = 5.2 ml
V2 = 11.1 ml
Z = N/50= 0.02 N
V = volume of water sample= 50 ml

## Slide 6: Numerical 1
M = methyl orange alkalinity
= V2 X Z X 50 X 1000 / V
= 11.1X 0.02 X 50 X 1000 /50
= 222 ppm CaCO3 equivalent
P<1/2M
-OH = Nil
CO3-2 = 2P = 2 X 104 = 208 ppm CaCO3 equivalent
HCO3- = M-2P = 222-208 = 14 ppm CaCO3 equivalent

## Slide 7: Numerical 2
P = phenolphthalein alkalinity
= V1 X Z X 50 X 1000/ V
= 8.4 X 0.01 X 50 X 1000/50
= 84 ppm CaCO3 equivalent
50 ml of a water sample requires 8.4 ml of 0.01 N HCl up to phenolphthalein end point and further 5.6 ml of the acid for complete neutralization. Find the types and amount of alkalinity in the water sample.
Solution: V1 = 8.4 ml
V2 = 8.4 + 5.6 = 14 ml
Z = 0.01 N
V = volume of water sample= 50 ml

## Slide 8: Numerical 2
M = methyl orange alkalinity
= V2 X Z X 50 X 1000 / V
= 14 X 0.01 X 50 X 1000 /50
= 140 ppm CaCO3 equivalent
P>1/2M
-OH = (2P-M) = 28 ppm CaCO3 equivalent
CO3-2 = 2(M-P) = 112 ppm CaCO3 equivalent
HCO3- = Nil

## Slide 9: Numerical 3
10 ml of a water sample is not alkaline for phenolphthalein indicator, But requires 6.2 ml of 0.01 N H2SO4 up to methyl orange end point. Find the types and amount of alkalinity in the water sample.
Solution: V1 = 0 ml
V2 = 6.2 ml
Z = 0.01 N
V = volume of water sample= 10 ml
As given water sample is not alkaline to phenolphthalein hence P =0, -OH, CO3-2 absent
only HCO3- present.

## Slide 10: Numerical 3
HCO3- concentration is given by
M = methyl orange alkalinity
= V2 X Z X 50 X 1000 / V
= 6.2 X 0.01 X 50 X 1000 / 10
= 310 ppm CaCO3 equivalent
P = 0
-OH = (2P-M) = Nil
CO3-2 = 2(M-P) = Nil
HCO3- = 310 ppm CaCO3 equivalent